- Use the usb wire to connect to the pc and inverter ，power on inverter using grid or pv

- Setup the tool software,open it

- choose the correct COM port

- choose file  : .out file (For updating DSP MCU)  and  .axf file(For updating ARM MCU) respectively，make sure the file path without containing any space character!

- start the button “upgrade”